Fiore at the Gardens Condominium Association

100 Myrtlewood Drive

Palm Beach Gardens, FL 33418

Tel: 561-776-6262 Fax: 561-776-8223

Fioreatthegardens@gmail.com

ARCHITECTURAL STANDARDS  MODIFICATIONS AND IMPROVEMENTS

AUTHORIZATION AND APPROVAL FORM

The Association has the duty to assure that any improvements made to individual units comply with the Regulations and By-Laws of the Association as well as local Building Codes.  Permits, when required, must be applied for before any improvement is approved. All improvements must be submitted in writing for approval by the Board of Directors before any work is to commence. Homeowners shall not conduct their own improvements where permits are required unless the owner possesses a Competency License in the profession(s) that would cover all work being performed. The Board reserves the right to inspect any improvement, after the work is complete, for compliance. NO construction is allowed in the breezeways.  Work can only be performed on Mondays through Saturday, 8 AM to 5 PM.  No work on Sundays.

INSTRUCTIONS

Complete this form and submit to the management office for approval. If work is to be done by a contractor or service provider, the contractor or service provider must provide the following:

- A copy of their Competency License. (Business Tax or Occupational Licenses not accepted)

- A Certificate of Insurance including Liability and Workmen’s Comp Insurance naming Fiore at the Gardens Condo Association as additionally insured if over $2000.

- A copy of the Palm Beach Gardens Building Permit (if applicable).

Approval of the City of Palm Beach Gardens shall be obtained where required by City Ordinances.

Please Print

Date Submitted: _________________

Unit #____________________

Name of Owner______________________________________________________________

Contact Number______________________________________________________________

Email address________________________________________________________________

Work to be completed by:

[  ] 	Homeowner

[  ]	Name of Contractor____________________________________________________

Phone_______________________________________

ALL WORK -RELATED DEBRIS MUST BE DISPOSED OF OFF FIORE PROPERTY

IMPROVEMENTS

Check Where Applicable:

EXTERIOR Improvements

[  ]	Hurricane Shutters (note:  current tracks are 1 3/4” wide)

[  ]	Windows must be white frame horizontal sliding and match grill pattern

Location________________________________________________________

[  ]	Impact Windows must be white aluminum frame horizontal sliding and match grill pattern

[  ]	Sliding Glass Doors must be white aluminum

[  ] 	Impact Sliding Glass Doors must be white aluminum frame

ALL window and exterior door replacements must fit existing opening per building code (available via our website (fioreatthegardens@gmail.com).  NO enlarging current openings or reduction of opening (fillers) to fit smaller windows or doors.

INTERIOR Improvements

[  ]	Interior Door(s)	Location _____________________________________________

[  ]	HVAC System (Air Conditioning)  Permit required by contractor

[  ]	Water Heater (REQUIRES 2 business days’ notice).

[  ]	Plumbing – Water Main Valve MUST be replaced before performing any plumbing that requires a building shutdown.

[  ]	Valve at water heater / water heater (REQUIRES 2 business days’ notice for a water shut-off 9am – 12pm, Monday through Thursday ONLY).  If replacing water heater as well, water must be turned back on after replacing valve but before water heater installation.

[  ]	Carpeting (1/2” rebond carpet cushion pad)

[  ]	Hard Surface Flooring, REQUIRES Cork Underlayment 1/2“ (Floors 2 & 3) for wood, laminate, vinyl or tile, 1/4” cork on all 1st floor units.  NO EXCEPTIONS.  Underlayment must be installed and inspected by Management prior to hard surface flooring installation.

Type ____________________ What room(s) __________________________________

[  ]	Bathroom Remodel – Replace existing (circle all items)

Wall Tile	Cabinets	Tub/Shower	Counters	Sink/Faucet	Lighting/Fan

[  ]	Electrical Additions (does not currently exist in the unit i.e. Can lights in a ceiling or adding a new light outlet or switch)

Describe: ______________________________________________________________

[  ]	Drywall, Trim, Moldings

Describe: _______________________________________________________________

Homeowner Signature:  _________________________________________________________

After your project is complete, you must schedule a Final Inspection.

Official Use Only

Authorization to Commence Improvements: (Board Member Signature Only)

Sign________________________________________________Date______________________

Final Inspection: (Board Member or Property Manager)

Sign________________________________________________Date______________________